Frequently Asked Questions (FAQs)

- What is Non-Ionising Radiation?

Non-ionising radiation (NIR) includes radio waves, microwaves, infrared, visible light, and ultraviolet (UV). It does not have enough energy to remove electrons from atoms.

- What are the sources of NIR?

The Non-Ionising Radiation Regulations: Atomic Energy and Radiation Protection Act, 2005, apply to non-ionising radiation sources in the frequency range of 0 to 300 GHz.

The non-ionising radiation sources to which these regulations apply are:

- telecommunications and broadcasting installations which are

- TV antenna towers;

- radio antenna towers;

- cellular base stations; and

- microwave dish antennas;

- medical applications which are

- magnetic resonance imaging (MRI); and

- diathermy and hyperthermia;

- ultraviolet (UV) sun lamps; and

- high power lasers.

- What are the biological effects of NIR?

Thermal Effects (Heating)

- Microwaves and radiofrequency fields can cause heating of tissues.

- Localized heating may affect eyes or testes with prolonged exposure.

Nerve & Muscle Stimulation

- Low-frequency electric and magnetic fields can stimulate nerves and muscles.

- This happens mostly in occupational settings where exposure is high.

Skin & Eye Damage (UV Radiation)

- UV radiation can cause sunburn, premature aging, and in severe cases, skin cancer.

- It can also cause eye damage, such as photokeratitis (cornea burn).

Interference with Medical Devices

- Magnetic fields can interfere with pacemakers and implanted devices.

- This is why safe distance and proper shielding are required.

- What are the NIR Exposure Limits?

The Non-Ionising Radiation Regulations adopt the International Commission on Non-Ionizing Radiation Protection (ICNIRP) Guidelines for exposure limits. These limits are designed to prevent known adverse health effects such as tissue heating, nerve stimulation, or interference with medical devices.

- Public Exposure Limits

- Apply to people who are not occupationally exposed.

- Example: For frequencies between 10 MHz and 300 GHz, power density must not exceed 10 W/m².

- Occupational Exposure Limits

- Apply to trained workers with knowledge of radiation protection.

- Example: For the same frequency range (10 MHz – 300 GHz), power density must not exceed 50 W/m².

- What is expected of applicants/proponents?

  - Establishing Exclusion Zones

- Applicants must use mathematical calculations or appropriate modelling tools to determine exclusion zones for each antenna or device.

- These zones are areas where electromagnetic field (EMF) exposure exceeds ICNIRP limits and must be restricted.

- Calculated boundaries must be submitted to the National Radiation Protection Authority.

  - Implementing Safety Measures

- Reasonable and practicable engineering or administrative controls must be implemented to prevent access by workers and the public to areas where exposure may exceed limits.

- Controls include barriers, signage, and access restrictions.

  - Registration

- All sites must be registered with the Authority in accordance with the Non-Ionising Radiation Regulations (Government Notice No. 126 of 2020).

  - Pre-Approval Required

- Operators must obtain prior approval from the Authority before installation or operation of NIR sources.

- Approval is conditional on demonstrating compliance with applicable regulatory requirements.

  - Stay Up to Date

- Operators are encouraged to refer to the latest ICNIRP publications.

- Note: ICNIRP 1998 Guidelines have been superseded by ICNIRP 2020. Use the latest version when conducting assessments or reporting compliance.